Physics 54


THE HALL EFFECT

In this experiment you will study the Hall effect in a semiconductor.  Measurements of the Hall potential will yield the sign and density of the charge carriers in the semiconductor.

In preparation for this experiment you should review Halliday & Resnick.  Section 33-5 (Hall Effect) and the discussion in Section 37-6 (Ferromagnetism) on the magnetization curve and hysteresis.  Also see the discussion of the Hall effect in e.g. Eisberg and Resnick, Quantum Physics and Modern Physics by Robert Sproull.  In connection with the following theoretical discussion you should determine the sign of the Hall potential  (Va - Vb) = V  in Fig. 1 for positive and negative charge carriers.  Also show how the Hall potential depends on  B, I, n, 

w and d  as defined below.

Theoretical Background

The charge carriers in the conduction of electricity by metals are electrons.  If a metal strip is placed in a magnetic field and a current is established in the strip, then a small transverse electric field is set up across the strip.  The resulting difference of potential is the Hall potential.  Note that this potential is perpendicular to both the current flow and the magnetic field (see Fig. 

1.)  When semiconducting materials 

are used in place of the metal, the 

Hall potential is generally much 

larger and may be of opposite sign.  

The change in sign implies that, in 

such cases, the charge carriers are 

positive and that a different 

conduction process is occurring 

than in the metals.

Two quantities are of interest here.  First, 

the sign of the Hall potential, which depends 

on the sign of the charge carriers.  Second, 

the magnitude of the potential, from which 

may be deduced the density of charge carriers.  

This deduction is briefly the following:  Let  EH  be
the transverse electric field generated in the strip 

carrying a current of density  j  in a field  B  in 

the geometry shown above.  The quantity                                 Fig. 1.  The Hall Effect




EH



R =      ___
                                    jB

is called the Hall coefficient.  In equilibrium, the transverse force of  qEH  acting on the charge carriers of charge magnitude  q  must just compensate the Lorentz force of  qvB  acting upon these charges moving with drift velocity  v.  Since also  j = qnv,  where  n  is the density of charge carriers, we have 

For both metals and semiconductors, it turns out that  |q| = e,  the magnitude of the charge of an electron.  Thus  n  may be calculated from measured values of  R.

For a strip of width  w  and thickness  d,  carrying a uniform current density  j,  the conduction current is  I = jwd.

The Hall potential is  V = EHw.

Thus,


Measurement of the Hall Potential

1. Circuits.  Figs. 2a and 2b show the circuits used in obtaining the Hall potential.  Fig. 2a shows the circuit used to produce the required magnetic field and Fig. 2b shows the Hall effect circuit itself.

                                                        Fig. 2a.  Electromagnet circuit

Concerning these figures, note:

The Hall effect requires both a current  I  passing through the sample and a magnetic field.  The magnetic field is not shown in Fig. 2b, but the sample is oriented in the magnet to give the geometry shown in Fig. 1.

Two reversing switches (RS1 and RS2) are present in the circuits, one to reverse the current in the magnet, the other to reverse the direction of current flow  I  in the Hall effect device.  The reason for  RS2  is to compensate for thermal emf’s which can lead to small zero offsets.

The reversing switch  RS1  is included for a rather subtle reason:  In an ideal Hall effect device  V = 0  if there is no magnetic field.  But you will find that  V  0  even when  

B = 0.  This occurs because the sample has a finite resistance and therefore a voltage drop occurs along the direction of current flow; the potential leads are soldered onto the sample at points which are not quite on the same equipotential line (in zero magnetic field).  This voltage difference between the two leads, which we’ll call the IR effect, adds onto the Hall potential  V.  In order to eliminate the IR effect, the magnetic field direction is reversed by using RS1.  This changes the sign of  DV,  but since  I  is still flowing in the same direction, the IR effect will not change sign.  The results for both magnetic field directions are averaged to get  V.

2. The Electromagnet.  Calibration data for the magnet will be supplied.  These data were taken along the magnetization curve of the magnet and apply only when the magnet is so used.  Due to hysteresis (see H&R 37-6), a given current through the coils produces a unique field only if the history in establishing this current is identical from one time to the next.  The best procedure to use is first to set up the maximum current in the coils.  Then reverse this current by means of the reversing switch.  Reduce the current by perhaps one half and again reverse the current.  Proceed by reducing and reversing the current until the current is almost zero.  In this way the field at zero current is reduced arbitrarily closely to zero and a unique starting point is established.  The magnet calibration corresponds to a continually increasing coil current from the zero field, zero current point.  Once a given current is established, it may not be decreased without destroying the calibration.  Each time reduction of the field is necessary, the demagnetization procedure must be repeated.

3. Measurements.  Establish a field of some 1000 to 1700 gauss and determine its polarity by means of a compass.  The current in the magnet circuit must not exceed 1.9 amps!!  With a current of some 20 ma to 300 ma in the Hall probe, measure the potential difference across the Hall effect sample.  Vary both the current and magnetic field to establish the constancy of  R  and obtain a best value from your data.  Evaluate the sign and density of charge carriers in the sample of indium arsenide.


      Note:  Consider the physical significance of your value for  n.

