Achieving Our Wind Potential: The Role of Economics, Technology, and the Public

“The case for wind power is simple: it is renewable, economic, and safe for the environment.”

- British Wind Energy Association

Nicole Esclamado

Physics 80: Energy and the Environment

May 5, 2005

The aim of this paper is to discuss the current status of wind power, assess the various economic, technological, and institutional factors that play a critical role in allowing wind to reaching its full potential in the energy industry, and offer possible solutions for the U.S. to adopt on these issues.

As an emissions-free, efficient, and inexhaustible fuel that is rapidly approaching a competitive price in the global energy market, wind power seems to be the ideal energy alternative and has been growing at a rate greater than any other source of electricity in the world. According to the U.S. Department of Energy, wind could theoretically supply the world with roughly 1.7 million terawatt-hours, which is over 15 times the current global energy demand (AWEA, 2005). However, while such estimates suggest that wind is a viable replacement of fossil fuels, many energy-system studies impose a limit to the fraction of total electricity supplied by wind power partly due to the intermittency of wind resources. These studies assume that the additional costs from the regulatory services necessary to mitigate the impact of wind variability will cause wind development to become uneconomical after wind power contributes a certain fraction to total energy generation. However, these studies may unfairly limit wind development by assuming a static mix of energy sources supplying electricity demand; on the other hand, a study based on a dynamic energy system may demonstrate that the costs of intermittency are not, in fact, prohibitive.

The ultimate deterrent to wind power development may rather be opposition of the residents near the sites of the wind turbines due to their impact on wildlife and landscape, as well as the noise that they make. Dave Toke’s comparative study of the wind power development in the UK and Denmark demonstrates that two states with equivalent technology and government support but different incentive structures can receive very different responses from the public. An understanding of the different institutional regimes under which wind power is regulated in the UK and Denmark can guide the U.S. as it moves toward the development of wind power.

The American Wind Energy Association “has advocated the development of wind energy as a reliable, environmentally superior energy alternative in the United States and around the world” (AWEA, 2005). Although wind industries around the world maintain that the case for wind power is simple, it becomes more complicated as more generation comes from wind; in order for wind energy to replace fossil fuels, it requires the support of government incentives, new technology, and the public.

The Source of Wind Energy

Wind energy is created by the uneven heating over land masses and oceans due to different absorption and reflection rates of solar radiation and the rotation of the earth. Wind lowers the pressure gradient by transferring air from regions of high pressure to low pressure. When air is in motion in the form of wind, it carries kinetic energy that wind-electric turbine generators can convert into electricity. Air flows past the rotor of a wind turbine causing it to spin and drive the shaft of a generator to produce electricity.  The amount of kinetic energy Ek in a certain volume of wind is equal to half the product of its mass m and the square of its velocity v:

Ek = ½ mv2

If the wind speed doubles, twice as much air will flow past the rotors in a given period of time, and that volume of air will carry four times the energy. Thus, if the wind speed doubles, there would be eight times the power, which is energy per unit time. The power P available in wind passing perpendicular through the circular area swept by the rotor of a turbine is a function of the cube of its speed v, the density of dry air, and the rotor area, where r is half of the diameter of the rotor:

P = ½  v3  r2

The rated power of a wind turbine indicates its output when running at its maximum performance. This number may be misleading since slight increases or decreases in wind speed can result in considerable gains and losses in power generation, as power varies with the cube of speed, producing an average power output lower than its rated power.

Wind Energy Today

Global wind power capacity is over 39 GW, producing 90 billion kilowatt-hours each year, which is equivalent to the electricity used annually by 9 million average American households (AWEA, 2005). Initially motivated by high oil prices and then climate change mitigation, wind energy has grown at a rate greater than any electric generating technology; global cumulative installed capacity increased by 26% in 2003 (ibid). Due to the growing concern about climate change, several countries, such as Denmark and Germany, have made considerable advancements in wind power development in order to decrease their CO2 emissions at a low cost. Based on the U.S. average utility generation fuel mix, a single one-megawatt wind turbine can offset over 1500 tons of carbon dioxide, 6.5 tons of sulfur dioxide, 3.2 tons of nitrogen oxides, and 60 pounds of mercury annually (Reeves 2003). In addition, wind power is currently the least-expensive renewable technology. At good sites, the average generation cost of wind is currently 4-6 cents/kWh without credits or subsidies, while the cost of natural gas is 3.9-4.4 cents/kWh, coal is 4.8-5.5 cents/kWh, hydro is 5.1-11.3 cents/kWh, biomass is 5.8 cents/kWh, and nuclear is 11.1-14.5 cents/kWh (AWEA, 2005).

Market Mechanisms Supporting Wind Power Development

While wind power is the cheapest renewable technology, it is still more expensive than conventional fossil fuel capacity. Therefore, market incentives for wind power technologies are essential for wind to become a viable replacement of fossil fuel. Currently, one of the most significant financial incentives driving wind power development is the Federal Production Tax Credit (PTC), which provides an inflation-adjusted 1.8 cents/kWh credit to a qualifying wind generator during the first 10 years of its operation (Bird, 2005). With the PTC, the average generation cost for wind is 3.3-5.3 cents/kWh (AWEA, 2005). Wind power has experienced peaks in development during the years when the credit was scheduled to expire and delays during the years when the extension of PTC was tentative, indicating the important role that the tax credit plays in spurring the growth of the wind energy industry. With the support of PTC, wind capacity has grown at a 15% rate over the last decade and has increased by 36% in 2003, such that wind currently supplies 0.2% of total national generation (DeCarolis, 2004).

In addition to national incentives, State-level market mechanisms have made an important impact on wind development. For example, renewable portfolio standards (RPS) mandate that renewable sources of energy must contribute a certain fraction of electricity to total generation. In Texas alone, 750 MW of wind generation have been installed since 1999 in order to meet the renewable portfolio standards (RPS), which require 2 GW of new renewable capacity by 2009 (Bird, 2005). In addition to the RPS, system benefits funds, integrated resource planning, property tax incentives, sales tax incentives, and voluntary purchases of green power by consumers help promote wind energy development (ibid).

Despite the environmental benefits of wind energy, as well as its declining costs, it is unlikely that wind power will make a significant penetration into the electricity market without these incentives, partly due to the additional costs of the regulatory services required to compensate for the intermittency of wind.

Intermittency: The Natural Limit on Wind Power

Given the support of market incentives, the environmental benefits that wind power offers, and its declining costs, the critical limit on development may be in the nature of wind itself: intermittency. According to Battelle Pacific Northwest Laboratory, wind energy could provide 20% of the nation’s electricity (AWEA, 2005). However, more U.S. wind resources exist than represented by that number. The American Wind Energy Association asserts that “North Dakota alone is theoretically capable of producing enough wind-generated power to meet more than one-third of U.S. electricity demand.” While this resource base suggests considerable potential for growth, wind is not always available and thus its reliability may prevent its full exploitation as an energy source.

Wind speed at a specific time and location depends on the daily heating and cooling patterns of the earth surface and the seasonal patterns caused by temperature differentials and local weather variations. Therefore, an individual wind turbine’s electricity output can vary between zero and its full output according to the wind speed, resulting in significant differences in power output, as power varies by the cube of wind speed. At low wind speeds, typically less than 4 m/s, the turbine does not produce power because the blade does not create enough torque to overcome friction and begin rotating, and at wind speeds greater than 25 m/s, the blades are automatically stopped in order to prevent damage. The result is intermittent power.

While wind remains at a modest contribution to the electricity system, the combined output of the entire wind power system will show less variability due to the different wind speeds between each generation site. However, if wind is truly to become a replacement of fossil fuels, it will have to contribute more than 20% generation market share, which would increase the impact of intermittency on the balance of demand and generation. In order to compensate for intermittency additional operating reserves, storage technologies, and backup capacity will be required to mitigate the fluctuations in wind speed.

The cost of wind intermittency causes many studies not to look further than 20 years ahead due to the assumption that there is a threshold limit to the fraction of wind energy that can serve electricity demand, below which there would not be problems maintaining a balance between generation and demand and above which wind power would become uneconomical (BWEA, 2005). In terms of the maximum fraction of electricity demand supplied by wind, such studies give estimates that range from 0.08% from Hirst’s study in 2001 to 20-30% from Ilex and Strbac’s study in 2002 (quoted in DeCarolis, 2004). Professor David Simpson, in a recent paper published by The David Hume Institute, similarly concludes that there is a limit to wind development: "No matter how large the amount of wind power capacity installed, the unpredictably variable nature of its output means that it can make no significant contribution to the security of energy supplies.”

These studies on wind integration into the electricity system assume that the increase in the cost of wind power will be proportional to the increase of electricity supplied to the system by wind power. Consequently, the revenue that wind generators receive will decline progressively as wind power grows to be a large portion of the generation mix. Therefore, it is reasonable that there is a threshold above which wind development will become uneconomical.

However, other studies show that the rise in cost due to intermittency is not proportional to the rise in the level of wind power penetration into the electricity system. For example, the study made by Hudson and Kirby in 2001 shows that the regulation component (i.e. spinning reserves) declines from 10% to 6% of the rated wind capacity as wind capacity increases from 10 to 100 MW (quoted in DeCarolis, 2004). A study in Germany found similar results: the regulation component declines from 14.5 to 3% of the rated wind capacity as the wind capacity increases from 2.8 MW and 44.6 MW (ibid). These studies provide evidence that the regulation required to mitigate the variability of wind power grows at a slower rate than wind capacity. This result supports the assumption that more wind farms distributed over an area of demand smoothes the variability of wind since the power output of one turbine does not necessarily correlate with the power output of another. Therefore, the aggregate reliability of wind power improves as wind power is added to the system, which consequently decreases the regulation requirement. If this is the case, the cost of intermittency is unlikely to pose an economic barrier to wind development.

It is unlikely that the relative amounts of electricity currently supplied by the different sources of energy will remain static; the limit on wind development due to intermittency depends on how it changes with the energy system. During the time it will take for wind energy to supply a considerable amount, such as more than a third, of the electricity demand, fast-ramping capacity, such as hydroelectric power, may be developed to mitigate the intermittency of wind and further decrease costs. Rather than imposing an economic limit on the growth of wind power based on the assumption of a constant mix of generation sources in the energy system, assessment models should weigh the costs and benefits of new storage technologies that may allow wind to supply a larger percentage of electricity demand.

Wind and Hydroelectric Technologies

One possible cost-effective method of improving the reliability of wind is to integrate wind and hydro generation. In a hydro storage system, excess wind energy would run an electrolyzer to generate hydrogen by electrolysis of water, which is then stored under pressure in a storage reservoir. During peak periods or when wind speeds are low, the hydrogen is released from storage and burned in a combustion turbine to generate electricity on demand. Their quick ramp rates give hydro generators an advantage over other regulatory services used to mitigate wind intermittency; hydro power is available within 5 to 15 minutes to ramp up or ramp down the wind power output to correct an imbalance between supply and demand.

Since chemicals can be stored at a relatively low cost, the conversion of electricity to chemical energy is a cost-efficient method for wind power systems that are likely to require long-term energy storage, up to approximately a week. According to a study conducted by the National Wind Coordinating Committee, the utilization of hydro systems reduces the cost of regulatory services by 83%. The annual cost of regulatory services provided by fossil fuel plants is $145 million and $24 million if hydro resources are included (Brown, 1998).

However, there is a trade-off between energy efficiency and cost. A hydro system is less energy efficient (40-50%) than compressed air storage (75%), which is another storage method that stores electric energy by compressing and later re-expanding air (Berry, 2005). However, hydro systems provide storage capacity at a lower cost; a 250-liter pressure vessel could store enough hydrogen to provide 150-300 kWh of electricity as opposed to 10-20 kWh fo compressed air, which would lower the cost more than a factor of 10 (ibid). According to Gene Berry of Lawrence Livermore National Laboratory, “H2 energy storage is therefore economically best suited to situations where the total amount of energy stored is more valuable than efficiency. This should be the case for electricity stored longer than 1-2 days.” Thus, turnaround efficiency may be less important than cost in the case of long-term storage, making hydro systems the more viable option.

Environmental Impacts of Wind and Public Opposition

Assuming that government incentives continue to support wind, that cost does not grow in proportion with wind capacity and that hydro generators will be integrated into the system to regulate the balance between supply and demand, intermittency will not pose a prohibitive cost on wind development However, the most difficult challenges of wind power to resolve may be public opposition due to the aesthetics and noise of wind turbines.

In his comparative study of wind development in the UK and Denmark, Dave Toke uses a rational choice framework to demonstrate how two states can have comparable wind technology and government support, but receive very different public responses to wind power due to different institutional regimes. Toke cites Olson’s theory of collective action, which states that “privileged groups tend to prevail over a ‘latent’ majority group who may want the collective good as supplied by wind power but whose own individual efforts to supply the collective good will make no discernable difference” (quoted in Toke, 2002). The minority groups in opposition to wind power are “privileged,” in Olson’s terms, because the potential gain they can achieve from defending their self interest in landscape protection outweighs the cost of writing letters of objection. The majority group in favor of wind power, on the other hand, is “latent” because there would not be significant, direct individual benefits from fighting for wind power.

By a comparison between the wind power programs in the UK and Denmark, Toke demonstrates how collective action failure, as described by Olson, may be avoided. In Denmark, over 80% of wind turbine capacity is locally owned (Toke, 2002). Toke emphasizes the advantages of local ownership of wind turbines by citing a report published by the Danish Ministry of Energy and Environment: “The local environmental disadvantages of wind power can lead to a lack of public acceptance of wind farms. Local ownership of wind turbines (local farmers, co-operatives or companies) can ensure local acceptance of projects” (quoted in Toke, 2002). In contrast with the British wind power program that primarily supports large wind turbines from which profits flow to remote developers rather than local residents, the Danish institutional framework is based on local cooperatives that mobilize the latent majority group since the profits of wind turbines would go to the local community. According to Toke, “the local resident has an incentive to offer political support to the wind power project since they may receive tangible financial and political returns from the project. The temptation to act as a ‘free rider’ is reduced.” Danish wind power cooperatives have successfully gained the support of local residents that are willing to campaign for wind power and counter the efforts of its opponents.

Similar to the UK, the US has historically taken the opposite approach to Denmark. Danish taxpayers invested about $52 million to construct smaller wind turbines for use in rural areas (DeCarolis, 2004). In contrast, the U.S. government gave $450 million in research and development funding between 1974 and 1990 to large aerospace firms, which focused on wind turbine designs that would appeal to large utility monopolies (ibid). This “top-down” development of wind power technology may have put the US in a similar position as the UK; while the majority of people support wind power, its opponents may have had the stronger voice.

A comparison between the Cape Cod wind farm in the US and the Middelgrunden wind farm in Denmark demonstrates the different outcomes of “top-down” and “bottom-up” development, and may prove to be a lesson for future wind projects in the US. The controversy surrounding the Cape Cod wind project shows how opposition from residents can be a critical deterrent to installing a wind farm in an urban environment. The opponents of the Cape Cod wind project argued that it was “not needed primarily because [Cape Cod] is a bad location due to the project’s visual impact – and also that a private company should not profit from a public resource like Nantucket (Brewer 2005). While 55% of the residents of Cape Cod supported wind development, their incentive to defend wind power was not as strong as the opponents’ desire to prevent private companies from exploiting the natural resources of the area and spoiling the view of a pristine body of water (ibid).

Denmark has avoided this opposition by promoting local wind turbine ownership by a system of tax concessions; people who own or invest in shares in wind power schemes can receive a tax concession up to the value of the investments, while cooperative shareholders are limited to claiming tax no more than 30% higher than the value of their annual electricity consumption (Toke, 2002). Such wind power projects did not yield profits solely for remote, private companies. According to Olson’s theory of collective action, this system of tax concessions provided financial incentives to mobilize the latent majority of Middelgrunden residents that were in favor of wind power. Consequently, the Middelgrunden project gave very different results: 20 wind turbines running at 2 MW each have been successfully installed off the Copenhagen waterfront (ibid). Using a similar system of tax concessions that promote local wind turbine ownership in the US may allow the installation of wind farms near demand centers in urban areas, such as Cape Cod.

However, some urban sites are not functionally viable; cities are typically not located near the best wind resources since people, in general, do not prefer to live in highly windy areas. In addition, wind-disrupting buildings may cause turbulent winds that reduce the lifespan of the turbine by placing greater stresses on the rotor and the tower (Reeves, 2003). In such cases, it would be more economical to site wind farms in more remote locations with stronger winds, low population densities, and cheap land, and to transmit the electricity through long-distance transmission lines to demand centers. In order to utilize the large-scale wind resources, significant wind power development should occur in the windy regions of the Great Plains. Since farmers make their living by altering land for agriculture, they probably would not oppose wind power due to its aesthetic impact. In addition, they would benefit from the revenue from land leases (DeCarolis, 2004).

Wind development in remote locations would offer several important advantages. Larger wind turbines may be built in areas of low population density due to less public opposition. Increasing the height of the wind turbine can, to a certain degree, improve the efficiency and life span of a wind turbine. Placing the rotor high above ground can reduce the degree of turbulence that a turbine would have to endure from winds flowing over rough terrains. Turbulent winds can place stress on the rotor and tower and consequently reduce the turbine’s lifespan. Wind speed is lower close to the ground due to wind shear and therefore more power may be generated with greater tower heights (Reeves, 2003). In addition, a rotor with a greater diameter can sweep a larger area, thus increasing the power captured from wind.

Large-scale wind development in the Great Plains would also be beneficial because wind farms that are dispersed over a large area can increase the reliability of wind by averaging the power output over the varying weather patterns at each site. Various studies have assessed the probability of sudden large changes in the output of the aggregate wind energy system. These studies show that an abrupt loss of wind at every generation site across the Great Plains is not a significant concern due to its extremely low probability of occurrence (BWEA, 2005). However, if that were the case, hydro generators can act as capacity reserve that ramp the wind power output up or down according to the varying wind speeds and prevent a costly system collapse (DeCarolis, 2005; Brown, 1998). Additional regulatory services, such as regulation and frequency support which maintains a minute-to-minute generation load/balance using an automatic-generation, may also be used supplement hydro generators in the regulating the balance of generation and demand.

The main concern about installing wind farms at remote locations is the additional cost from building long-distance transmission lines and from upgrading the existing transmission infrastructure to handle the additional supply. High Voltage Alternating Current (HVAC) lines, which are currently used to transmit power short distances, may be uneconomical for long distance transmission. However, the 35 GW of High Voltage Direct Current (HVDC) transmission line capacity installed worldwide has shown that HVDC lines are a cost-effective means of long-distance transmission (DeCarolis, 2004). Although HVAC is cheaper for short distances due to the high cost of HVDC terminal stations, there is a “break-even distance” of roughly 100-400 miles where HVDC transmission lines will always be more cost-effective since they have lower costs per kilometer of line and per MW of transmitted power (ABB, 2005). Energy-system models that limit the installation of wind farms to within a certain distance from existing transmission lines do not capture what HVDC lines offer: the transmission of large-scale wind from the central US to high demand centers, such as urban areas.

The challenge of building long-distance transmission lines to close the gap between the source of supply and the source of demand give many researchers, such as Simpson, another reason to argue that high levels of wind power in the system will cause serious economic and operational penalties. While it is important to analyze the implications of the spatial distribution, as well as the intermittency of wind, it is essential not to undervalue wind due to these two factors. Hydro storage and HVDC transmission capacity are cost-effective technologies that have demonstrated several advantages that may allow wind to supply a significant fraction to electricity demand. With continuing market incentives such as the RPS and the PTC, and increased efforts in the research and development of hydro storage technologies and HVDC transmission lines, it is unlikely that there will be economic or technical barriers imposing a limit on wind development.

Instead, wind power development may be limited by the failure to achieve support at a local level. The classical rational choice theorist, Garrett Hardin, stated, “Ruin is the destination toward which all men rush, each pursuing his own best interest in a society that believes in the freedom of the commons. Freedom in a commons brings ruin to all.” While Hardin explained that the ruin of the commons is a result of resource overexploitation by individuals driven by their own self-interests, the problem is resource underexploitation in the case of wind power. A system of tax concessions is one possible incentive structure that the US may adopt to address this issue of collective action failure. Wind power is positioned to play a critical role in the abatement of carbon dioxide emissions; however, as long as the perceived costs of wind development remain greater than the costs of climate change and pollution, the US will not be able to enjoy the full benefits of the clean and renewable energy that wind has the potential to offer.

Works Cited

Berry, Gene. “Present and Future Electricity Storage for Intermittent Renewables.”

Lawrence Livermore National Laboratory. April 26, 2005

<www.pewclimate.org>

Bird, Lori, Mark Bolinger, Matthew Brown, Troy Gagliano, Brian Parsons, and Ryan

Wiser. “Policies and market factors driving wind power development in the United States.” Energy Policy 33.11 July 2005: 1397-1407

Brewer, Thomas L. “U.S. Public Opinion on Climate Change Issues: Evidence for 1989-2002.” April 26, 2005. <www.ewea.org/documents/WD22vi_public.pdf>

Brown, Andrew B. and Christopher T. Ellison. “Wind Energy System Operation and

Transmission Issues Related to Restructuring.” April 26, 2005 <www.nationalwind.org>

“Comparative Cost of Wind and Other Energy Sources.” American Wind Energy

Association (AWEA) April 5, 2005 < http://www.awea.org> Path: Financing; Wind Overview; Wind Web Tutorial; Wind Energy Costs

DeCarolis, Joseph F. “The Economics and Environmental Impacts of Large-Scale Wind

Power in a Carbon Constrained World.” Diss. Carnegie Mellon University, 2004.

“HVDC transmission for lower investment cost” The ABB Group. May 3, 2005.

< http://www.abb.com/>  Path: Products & Services; DC systems.

Goldfarb, Theodore D. Environmental Studies, 2nd ed. Dushkin/McGraw-Hill, 2000.

Reeves, Ari. “Wind Energy for Electric Power.” Renewable Energy Policy Project.

April 5, 2005  <http://www.crest.org/>. Path: REPP Library: Current Papers & Archives

Toke, Dave. “Wind Power in UK and Denmark: Can Rational Choice Help Explain

Different Outcomes?” Environmental Politics 11.4 Winter 2002: 83-100

“Wind Energy Potential.” American Wind Energy Association (AWEA) April 5, 2005

<http://www.awea.org/> Path: Financing; Wind Overview; Wind Web Tutorial; Wind Energy Potential

“Wind Power and Intermittency: The Facts.” The British Wind Energy Association

(BWEA) April 25, 2005 <http://www.bwea.com/energy/briefing-sheets.html>

“9 Good Reasons for Local Ownership” Middlegrunden Wind Turbine Co-operative April 29, 2005, <http://www.middelgrunden.dk/MG_UK/ukindex.htm> Path: Articles; Why local ownership?

In spinning reserve mode, the wind generator runs and is synchronized with the grid, but does not put any electricity into the grid. On part load, the plant’s output can be ramped up relatively rapidly (BWEA, 2005).

Ramping capacity refers to the ability to respond to correct generation/load imbalances (Brown, 1998).